INSTRUCTIONS

On fire safety measures in dormitories of The Kosygin State University of Russia

(The instruction is obligatory for execution by all categories of citizens living in the dormitory)

RESIDENTS OF THE DORMITORY MUST:

- Know the internal layout of the dormitory building: the location of staircases, main and emergency evacuation exits, the placement of fire-extinguishing equipment (fire extinguishers, internal fire hydrants, etc.);

- be able to use fire-extinguishing equipment, know their tactical characteristics and specifications. Remember that a burning electrical wiring or an electric device can only be extinguished with a carbon dioxide or dry-chemical type fire extinguisher;

- urgently leave the building as soon as you hear warning means of fire.

IN PREMISES (RESIDENTIAL ROOMS, HOUSEHOLD AREAS, ETC.)

OF DORMITORIES THE FOLLOWING IS PROHIBITED:

- To use non-standard (self-made) electrical appliances, uncalibrated fuses, electrical appliances that have faults, which can cause fire according to the instruction manual;

- to use electrical appliances (computer equipment) with bare current-carrying wires and elements, as well as in the absence of special protective covers provided by the manufacturer;

-  to use electric boilers, electric stoves;

- to use oil-lamp; leave unattended electric heaters, as well as other household appliances, including those in standby mode, except for electrical appliances, which can and (or) must work in around the clock mode in accordance with the manufacturer’s instructions;

-to use electric irons, electric kettles and other electric heaters that do not have thermal protection devices, as well as in the absence or malfunction of thermostats provided by the design;

-to use damaged sockets, switches, knife switches and other wiring accessories;

operate electrical wiring and cables with visible insulation problems; use electrical appliances in which the current-carrying cord consists of several parts connected by twisting or in another way and does not correspond to the technical condition provided by the manufacturer of this device;

-to install electrical appliances on windowsills, on other electrical appliances (refrigerators, etc.), on the floor, on an unstable base;

- to plug in the power grid several electrical appliances of high capacity at the same time; wrap light bulbs and lamps with paper, cloth and other combustible materials, and operate lamps with caps (lenses), provided for by the lamp design; install flammable materials closer than 0.5 m to lamps;

- clutter the approaches to electrical equipment, electrical panels, electrical cabinets and the space around them with various items (boxes, objects, packages, etc.),

- hang various objects on receptacles, electrical switches, electric wires, fire detectors, etc.;

- to conduct unauthorized electrical work;

- to store fire hazardous substances and materials;

- smoking in the dormitory building;

- use naked fire (matches, candles, etc.);

- use electric decorations;

- clutter up doorways, balconies, loggias, flight of stairs and platforms with furniture, other things and objects;

- litter with garbage, waste, etc.

- remove, damage, tear off, whiten fire alarms mounted on the ceiling;

- wash clothes and wash floors using gasoline and other flammable liquids;

IN CASE OF FIRE (IN YOUR ROOM):

- Immediately report the incident to the fire department 101 or the rescue service by calling 112, as

well as to the dormitory’s guard at tel. __________________________________________

- start extinguishing the fire with fire-extinguishing equipment available in the dormitory;

- if it is not possible to eliminate the fire by your own efforts, report the fire to your neighbors in the block and floor, leave the room and close the door without locking it;

- leave the danger zone and act as directed by the hostel administration or a fire service representative.

IN CASE OF FIRE (OUT OF YOUR ROOM):

- Immediately report the incident to the fire department 101 or the rescue service by calling 112, as well as to the dormitory’s guard at tel.__________________________________________,

- turn off the TV, radio, lighting lamps and other electrical appliances, close the window and the door and leave the building;

- If corridors and staircases are heavily smoked and you cannot evacuate from the building, stay in your room. Closed and well-sealed door can permanently protect you from dangerous temperatures and smoke poisoning. To avoid smoke poisoning, close the slots and vents with water-dampened towels and bedding. Try to inform the administration in any way possible about your location to take measures to assist you

- with the arrival of firefighters to the scene, go to the window and inform the firefighters of your location.

In case of a fire, the elevators are turned off and return to the 1st floor.

REMEMBER!

The implementation of fire prevention measures is a mandatory requirement and will eliminate the possibility of a fire both in public places and in your room. Responsibility for compliance with fire safety rules in living rooms and common areas of the blocks are residents themselves.